## Entrance_Hall
Room Name	Entrance Hall
Avg maintained illumination for design (Footcandles)	10	see rooms sheet
length	14	wall to wall
width	11	door to wall

lumens per luminaire	4500

hCC	1
hRC	7	do not edit
hFC	0

r_ceil	80
r_wall_ceil	40	?
r_wall	40
r_wall_floor	40	?
r_floor	0

CCR	0.8
RCR	5.7
FCR	0.0

ECCR	67	80,40,0.8	lookup table 9-11
EFCR	0	0,40,0	lookup table 9-11	0.81	0.72

CU	0.323	67,40,5.7	lookup table 9-12

Light Loss Factors
Unrecoverable
Luminarire ambient temp	1
Voltage to luminaire	1
Ballast factor	1
Luminaire surface dep	1

Recoverable
RSDD	1
LLD	1
LBO	1
LLD	1

LLF	1

Num Luminaires	1

## Sheet_Office_2
Room Name	Office
Avg maintained illumination for design (Footcandles)	15	see rooms sheet

Luminaire data
Manufacturer
Catalog number

Lamp Data
Type and color
Number per luminaire	1
Total lumens per luminaire	650

Room info
length	12.5
width	9.5
height	8

height of cavities
hCC	1.5
hRC	4	do not edit
hFC	2.5

reflectances
r_ceil	80
r_wall_ceil	40	do not edit
r_wall	40
r_wall_floor	40	do not edit
r_floor	20

Cavity Ratios (CR)
Ceiling CR	1.4
Room CR	3.7
Floor CR	2.3

Effective Ceiling Cavity Reflectance	59	80,40,1.4	lookup table 9-11
Effective Floor Cavity Reflectance	16	20,40,2.3	lookup table 9-11

Coefficient of Utilization	0.86	59,40,3.7	lookup table 9-12

Light Loss Factors
Unrecoverable
Luminarire ambient temp	1
Voltage to luminaire	1
Ballast factor	1
Luminaire surface dep	1

Recoverable
RSDD	1
Lamp lumen depreciation	1
Lamp burnouts factor	1
Luminaire Dirt Depreciations	0.94

LLF	0.94

Num Luminaires	3

## Sheet_Office
Room Name	Office
Avg maintained illumination for design (Footcandles)	15	see rooms sheet
length	12.5
width	9.5

lumens per luminaire	800

hCC	1.5
hRC	4
hFC	2.5

r_ceil	80
r_wall_ceil	40	?
r_wall	40
r_wall_floor	40	?
r_floor	25

CCR	1.4
RCR	3.7
FCR	2.3

ECCR	59	80,40,1.4	lookup table 9-11
EFCR	19	25,40,2.3	lookup table 9-11	0.81	0.72

CU	0.36		lookup table 9-12

Light Loss Factors
Unrecoverable
Luminarire ambient temp	1
Voltage to luminaire	1
Ballast factor	1
Luminaire surface dep	1

Recoverable
RSDD	1
LLD	1
LBO	1
LLD	1

LLF	1

Num Luminaires	6

## Sheet_Dining
Room Name	Dining
Avg maintained illumination for design (Footcandles)	15	see rooms sheet

Luminaire data
Manufacturer
Catalog number

Lamp Data
Type and color
Number per luminaire
Total lumens per luminaire	4000

Room info
length	12
width	14.7
height	8

height of cavities
hCC	2.5
hRC	3	do not edit
hFC	2.5

reflectances
r_ceil	80
r_wall_ceil	40	do not edit
r_wall	40
r_wall_floor	40	do not edit
r_floor	20

Cavity Ratios (CR)
Ceiling CR	1.9
Room CR	2.3
Floor CR	1.9

Effective Ceiling Cavity Reflectance	56	80,40,1.9	lookup table 9-11
Effective Floor Cavity Reflectance	18	20,40,1.9	lookup table 9-11

Coefficient of Utilization	0.47	56,40,2.3	lookup table 9-12

Light Loss Factors
Unrecoverable
Luminarire ambient temp	1
Voltage to luminaire	1
Ballast factor	1
Luminaire surface dep	1

Recoverable
RSDD	1
Lamp lumen depreciation	1
Lamp burnouts factor	1
Luminaire Dirt Depreciations	0.94

LLF	0.94

Num Luminaires	1

## rooms
Room Type	Lighting Level		From Fig. 9-80
Private Office	150,100,70,30	+		+ = equivalent sphere illumination

Residential
Dining	15
General	10	m		M = general lighting need not be uniform
Kitchen	150,50
Bedrooms
Bathroom (grooming)	50
Laundry	50,30

## Sheet3
Equivalent sphere p3-20

Es = p3-33

base reflectance	wall reflectance	cavity ratio

90	90	0.2	89	4.48863636973214
		1	86	4.45434729625351
		2	83	4.4188406077966
		3	80	4.38202663467388
		4	77	4.34380542185368
		5	75	4.31748811353631
		6	73	4.29045944114839
		7	70	4.24849524204936
		8	68	4.21950770517611
		9	66	4.18965474202643
		10	65	4.17438726989564
90	50	0.2	86	4.45434729625351
		1	75	4.31748811353631
		2	62	4.12713438504509
		3	52	3.95124371858143
		4	44	3.78418963391826
		5	38	3.63758615972639
		6	34	3.52636052461616
		7	30	3.40119738166216
		8	27	3.29583686600433
		9	25	3.2188758248682
		10	22	3.09104245335832
90	10	0.2	84	4.43081679884331
		1	64	4.15888308335967
		2	47	3.85014760171006
		3	34	3.52636052461616
		4	25	3.2188758248682
		5	20	2.99573227355399
		6	16	2.77258872223978
		7	14	2.63905732961526
		8	12	2.484906649788
		9	11	2.39789527279837
		10	9	2.19722457733622
90	0	0.2	82	4.40671924726425
		1	62	4.12713438504509
		2	43	3.76120011569356
		3	30	3.40119738166216
		4	22	3.09104245335832
		5	16	2.77258872223978
		6	11	2.39789527279837					41866644.7565788
		7	8	2.07944154167984
		8	6	1.79175946922806
		9	5	1.6094379124341
		10	4	1.38629436111989

50	90	0.2	50
		1	50
		2	50
		3	50
		4	50
		5	50
		6	50
		7	49
		8	49
		9	48
		10	47
50	50	0.2	48
		1	43
		2	37
		3	32
		4	28
		5	25
		6	23
		7	21
		8	19
		9	18
		10	17
50	10	0.2	46	41.7635105705636	0.01	17.9478426857264	10.5961306484678
	10	1	36	20.32848298703	1	245.59644548781
	10	2	26	8.26494441107933		314.532196742106
	10	3	19	3.36027563698749		244.600978151007
	10	4	15	1.36618612236463		185.880880850003
	10	5	12	0.555449826912115		130.977728664326
	10	6	10	0.225829047130633		95.5344178159153
	10	7	8	0.091815238851445		62.5393862164622
	10	8	7	0.037329290418834		48.4787834100595
	10	9	7	0.015176956903943		48.7877529433657
	10	10	6	0.006170490204334		35.9259921924974
50	0	0.2	44	40.9365376538991		9.38480154597806
	0	1	34	18.3939720585721		243.548108108628
	0	2	24	6.76676416183064		296.984417453965
	0	3	17	2.4893534183932		210.558864216297
	0	4	12	0.915781944436709		122.859889903275
	0	5	9	0.336897349954273		75.0493475252293
	0	6	6	0.123937608833318		34.5281092248835
	0	7	5	0.045594098277726		24.5461378390205
	0	8	3	0.016773131395126		8.89964254956604
	0	9	3	0.006170490204334		8.96301513372336
	0	10	2	0.002269996488124		3.99092516693156

0	90	0.2	2
		1	8
		2	14
		3	18
		4	22
		5	25
		6	27
		7	28
		8	30
		9	31
		10	31
0	50	0.2	1
		1	4
		2	7
		3	9
		4	10
		5	11
		6	12
		7	12
		8	12
		9	12
		10	12
0	10	0.2	0
	10	1	1
	10	2	1
	10	3	2
	10	4	2
	10	5	2
	10	6	2
	10	7	2
	10	8	2
	10	9	2
	10	10	2
0	0	0.2	0
	0	1	0
	0	2	0
	0	3	0
	0	4	0
	0	5	0
	0	6	0
	0	7	0
	0	8	0
	0	9	0
	0	10	0